## mdl_s
Analyte: | Analyte Name
Spike Conc: |  | (spike concentration must be a numerical value)
Units: | units
Method: | Method Reference or SOP
| Test | Analysis |  | Percent
Replicate | Date | Result | units | Recovery
1 |  |  | mg/L | #DIV/0!
2 |  |  | mg/L | #DIV/0!
3 |  |  | mg/L | #DIV/0!
4 |  |  | mg/L | #DIV/0!
5 |  |  | mg/L | #DIV/0!
6 |  |  | mg/L | #DIV/0!
7 |  |  | mg/L | #DIV/0!
8 |  |  | mg/L | #DIV/0!
Average |  | #DIV/0! |  | #DIV/0!
Std Dev |  | #DIV/0! |  | #DIV/0!
Deg of Freedom |  | -1
t(n-1) |  | #NUM!
MDLs = MDL based on spiked samples |  |  |  | #NUM!
MDLb = MDL based on blanks |  |  |  | 0.015604
MDL is greater of MDLs and MDLb |  |  |  | #NUM!
Acceptance Criteria Best Practics
Calculated MDL > 0 |  |  |  | #NUM!
Calculated MDL > 0.1 * spike conc |  |  |  | #NUM!
Spike conc > calculated MDL |  |  |  | no
Spike conc between 1 and 10 times the MDL |  |  |  | #NUM!
acc replicate percent recovery, lower limit |  |  |  | #DIV/0!
acc replicate percent recovery, upper limit |  |  |  | #DIV/0!
all spikes within replicate percent recovery limits |  |  |  | #DIV/0!

## mdl_b
(A) If none of the method blanks give numerical results, MDLb does not apply.
(B) If some, but not all, of method blanks give numerical results, set MDLb to highest method blanks result.
If more than 100 method blanks are available, set MDLb to the level that is no less than the 99th percentile of the method blank results.
(C) If all of the method blanks have numberical results, calculate MDLb according to formula below
test | analysis
date | result
2019-01-01 | 0.0029 | average = | 0.006175
2019-02-01 | 0.0123 | Sb, std dev = | 0.0034691
2019-03-01 | 0 | count = | 12
2019-04-01 | 0.006 | deg of freedom = | 11
2019-05-01 | 0.0071 | students t(n-1) = | 2.7181
2019-06-01 | 0.0058
2019-07-01 | 0.0069 | MDLb = | X + t(n-1)(Sb)
2019-08-01 | 0.0109 | = | 0.015604
2019-09-01 | 0.0058
2019-10-01 | 0.0087
2019-11-01 | 0.0023
2019-12-01 | 0.0054

## example data
Data for MDL Calculation Example
test | mg/L Ammonia
date | Blank | 0.100 Std.
2019-01-01 | 0.0029 | 0.095
2019-02-01 | 0.0123 | 0.091
2019-03-01 | 0
2019-04-01 | 0.006 | 0.087
2019-05-01 | 0.0071 | 0.088
2019-06-01 | 0.0058
2019-07-01 | 0.0069 | 0.104
2019-08-01 | 0.0109 | 0.095
2019-09-01 | 0.0058
2019-10-01 | 0.0087 | 0.088
2019-11-01 | 0.0023 | 0.096
2019-12-01 | 0.0054

## password
mdl2020

## disclaimer
These spreadsheets were put together by members of the Association of Public Health Laboratories and the WEF Laboratory Practices Committee. The authors have attempted to align procdures with the EPA's Definition and Procedure for the Detemination of the Method Detection Limit, Revision 2 (EPA821-R-16-006). The authors make no representation or warranty of any kind, whether expressed or implied, concerning the accuracy, completeness, suitability, or utility of any information, or process presented here, nor do they assume any liability.